## Slide 1: Afterpulse Measurement
Ding Xun
QPQI
USTC

## Slide 2: Dual Gate Method (Time-Correlated Carriers Counting)
First gate: photon impinging forces an avalanche (100% prob.)
Second gate: change Toff, measure Pt
Subtract the primary dark counts prob.
Anti M, Tosi A, Acerbi F, et al.
Modeling of afterpulsing in
single-photon avalanche diodes.

## Slide 3: Dual Gate Method
Total count: Ct (Ct avlanches in first gate)
Toff=t, record Csec(t) avalanches in second gate
Total afterpulse probability:
Inappropriate when dcr is large

## Slide 4: Time intervals Method
Measuring time interval between two avalanches
Fit the histogram of time interval
red curve: exponential dist. of darkcount or continuous photon impinging
Afterpulse: area above red
curve

## Slide 5: Time intervals Method
Total count time: C (at least two avalanches in 12us)
Afterpulse: Ca darkcount(continuous Photon): Cd
afterpulse prob. in the ith time bin: Pai, Pdi in the same way

## Slide 6: Time Interval Method
Afterpulse prob. has nothing to do with photon flux
Measuring time window
da Silva T F, Xavier G B, von der Weid
J P. Real-time characterization of
gated-mode single-photon detectors.

## Slide 7: Avalanche buildup and propagation effects on photon-timing jitter in Si-SPAD with non-uniform electric field
Antonino Ingargiola, Mattia Assanelli, Andrea Gallivanoni, Ivan Rech, Massimo Ghioni and Sergio Cova

## Slide 8: Buildup Simulation
Precalculation:
Ionization coefficient
Macroscopic coefficient: Reggiani Model
Microscopic coefficient: Okuto-Crowell
Calculate the table for further use

## Slide 9: Buildup Simulation
Set a carrier initial position
Calculate the next ionization position
Add two carriers
Calculate the dead space( for microscopic coefficient)
…
Breakdown value using Oldham or McIntyre ?
The results convoluted with TCSPC setup jitter

## Slide 10: Lateral Simulation
Space charge effects: a resistance. unit: ?
Combined with a Poisson equation
the multiplication rate of the carriers due to impact ionization( using ?)
the mean depletion layer transit time(the charge density)
Finally convoluted with the jitter before

## Slide 11: Lateral Simulation
Extension:
Solve the equations step by step
Every temporal step choose a random number in Poisson distribution whose parameter